Drinking Water Safety Plan for

Document Last Reviewed:

__/__/____

……………………………………………..

Introduction

This Drinking Water Safety Plan (DWSP) is for the private water supply known as …………………….......................................................................

The document defines the private water supply from source to tap, identifies any hazards present and introduces mitigation measures to reduce the likelihood of harm to all users on the supply. The DWSP must be reviewed at least every twelve months.

Relevant Contacts

| Relevant Party | Name | Address | Telephone Contact | Email Address |
| --- | --- | --- | --- | --- |
| Supply Owner |  |  |  |  |
| Source Catchment Land Owner |  |  |  |  |
| Water Treatment Engineer |  |  |  |  |
| Regulating Authority | Westmorland and Furness Council | Voreda House, Portland Place, Penrith, Cumbria, CA11 7BF. | 0300 373 3300 | pollution@westmorlandandfurness.gov.uk |
|  |  | South Lakeland House, Lowther Street, Kendal, Cumbria, LA9 4DQ. | 0300 373 3300 | privatewater@westmorlandandfurness.gov.uk |

The Supply

| Source and Catchment |  | Additional Comments |
| --- | --- | --- |
| Type of source (e.g. Borehole, Spring, Well, Land Drain, etc) |  |  |
| Location of the source (Inc. Grid Reference) |  |  |
| Livestock Grazing within or nearby Catchment area during any part of the year (Yes, No) |  |  |
| Is a stock proof fence present and in good structural condition (Yes, No, N/A) |  |  |
| Distance of stock proof fence around the radius of catchment tank (in metres distance) |  |  |
| Cleaning frequency of storage tank (Y, N, N/A & Frequency) |  |  |
| Storage Tank(s) |  | Additional Comments |
| Storage tank construction material(s) (e.g. Concrete, plastic, brick, etc) |  |  |
| Is the roof and lid of the storage tank(s) secure from any external contamination (Yes, No) |  |  |
| Are sediment strainers fitted on all outlets (e.g. Yes, No, Partial) |  |  |
| Are all tank overflows protected from animal access by a mesh or storm flap (Yes, No) |  |  |
| Cleaning frequency of storage tank (Y, N, N/A & Frequency) |  |  |
| Treatment System(s) |  | Additional Comments |
| Are treatment systems installed on all premises on the supply (Yes, No, Partial) |  |  |
| Sediment filter details (e.g. micron size) |  |  |
| Treatment System(s) make, model, power rating (W) and maximum flow rating |  |  |
| Treatment System serviced in accordance with manufacturing guidelines (Y, N, N/A) |  |  |
| Can water flow into supply during power failure i.e. is a failsafe in place (Yes, No) |  |  |
| Are any additional treatment systems in place? (e.g. Activated Carbon, pH filters, Water Softener, Ion-Exchange, etc) |  |  |
| Other and Miscellaneous |  | Additional Comments |
| Details of pipework material(s) throughout the supply (e.g. alkathene, copper, ceramic, etc) |  |  |
| Is the septic tank over 50m away from the source catchment areas (Yes, No) |  |  |
| Is the septic tank regularly monitored to ensure correct operation (Yes, No) |  |  |
| Is a chemical & slurry spreading exclusion zone 50m around the source? (Yes, No) |  |  |
| Details of any outbuildings or troughs (e.g. appropriate backflow protection to prevent contamination of the drinking water) |  |  |
| Is there any known lead piping on the supply (Y, N, Unknown) |  |  |
| Are there Header tanks on the supply and what frequency are they checked (Y, N) |  |  |

Supply Schematics

Schematic Diagram of Supply (from source to tap including any intermediate storage vessels and distribution points such as troughs, agriculture etc)

Schematic Diagram of Treatment System(s)

.

Properties served by the supply

| Name of Resident / Owner | Premises Name / Address | Contact Details |
| --- | --- | --- |

Emergency Action Plan

State what will happen in the event of an emergency (e.g. power failure, bacterial failure, drought, etc)

……………….………………………………………………………..…………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………......................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................

Maintenance Checks

| Item | Action | Frequency | Responsible Person |
| --- | --- | --- | --- |
| Grazing Livestock | Log frequency and intensity of stock grazing within catchment area |  |  |
| Stock Proof Fence | Check structural condition |  |  |
| Catchment Tank A | Clean Tank and assess structural condition |  |  |
| Storage Tank X | Clean Tank and assess structural condition |  |  |
| Storage Tank Y | Clean Tank and assess structural condition |  |  |
| Backflow Protection Measures | Check any backflow protections are functioning correctly |  |  |
| Sediment Pre Filter(s) | Check sediment filter condition and replace accordingly |  |  |
| Treatment System Servicing | Service treatment system in line with manufacturer guidelines |  |  |
| Failsafe System | Check and test that failsafe systems are operating correctly to prevent untreated water entering distribution |  |  |

Maintenance Checks Log

| Date | Task | Performed By | Next Required | Date | Task | Performed By | Next Required |
| --- | --- | --- | --- | --- | --- | --- | --- |

Westmorland and Furness Council Contact Details

Contact: Public Protection Group (Private Water Team)

Email (former South Lakeland and Barrow area): privatewater@westmorlandandfurness.gov.uk

Address (former South Lakeland and Barrow area): South Lakeland House, Lowther Street, Kendal, Cumbria, LA9 4DQ

Email (former Eden area): pollution@westmorlandandfurness.gov.uk

Address (former Eden area): Voreda House, Portland Place, Penrith, CA11 7BF

Telephone: 0300 373 3300

Further information about private water supplies can be found on our website:

https://www.westmorlandandfurness.gov.uk/your-environment/private-water-supplies